## Lotto 2
LOTTO 2 - Sistemi centrali - piattaforma Open Server e storage, apparati di rete e altre apparecchiature - Centro elettronico nazionale - Direzione generale
Descrizione | Mod. | Q.tà | Canone unitario mensile in €uro iva esclusa | totale mese q.tà x canone mesile iva esclusa | Mesi di manutenzione | data inizio manutenzione | TOTALE in Euro IVA ESCLUSA | NOTE
Drive | STK T9940BL3-0000 Full fabric DRV LIB MNT | 4 | 187.66 | 750.64 | 36 | 2012-01-01 | 27023.04
RACK | STK FLX 210R area a8 x rete SUN 9000 | 1 | 89.52 | 89.52 | 36 | 2012-01-01 | 3222.72
ESSO / ELA: drive fibre channel | T9940B | 2 | 296.74 | 593.48 | 36 | 2012-01-01 | 21365.28
ESSO / ELA: SCHEDE HBA Logic |  | 50 | 2.98 | 149 | 36 | 2012-01-01 | 5364
Escon Director: | IBM 9032 - 005 | 8 | 60.07 | 480.56 | 36 | 2012-01-01 | 17300.16
Display | IBM 9424/M5 | 6 | 8.34 | 50.04 | 36 | 2012-01-01 | 1801.44
U.C nastri cassette | OH 4100 | 1 | 81.41 | 81.41 | 36 | 2012-01-01 | 2930.76
Unità nastro cassette | OH 4080 | 2 | 74.01 | 148.02 | 36 | 2012-01-01 | 5328.72
U.C. nastri cassette | OH 4200 | 2 | 96.2 | 192.4 | 36 | 2012-01-01 | 6926.4
Dispositivo aggiuntivo | OH 4200/0020 | 2 | 88.8 | 177.6 | 36 | 2012-01-01 | 6393.6
Two channel switch | OH 4200/0020 | 12 | 88.8 | 1065.6 | 36 | 2012-01-01 | 38361.6
Unità nastro cassette | OH 4090 | 4 | 162.81 | 651.24 | 36 | 2012-01-01 | 23444.64
U.C. nastri bobina | Memorex 3222 | 1 | 37 | 37 | 36 | 2012-01-01 | 1332
Unità nastro bobina | Memorex 3228 | 2 | 55.5 | 111 | 36 | 2012-01-01 | 3996
Rete locale LAN SERVIZI / DMZ con connessioni GB Eth e F Eth 10/100 per un totale di circa 200 punti rete. Numero e tipologia degli apparati:
CISCO 6509 con i seguenti moduli installati: |  | 1 | 241.03 | 241.03 | 36 | 2012-01-01 | 8677.08
2 supervisor engine
2 fast Eth switching
1 switch fabric MDL
1 GB Eth switching
Router CISCO 3660 composto da: |  | 1 | 93.28 | 93.28 | 36 | 2012-01-01 | 3358.08
1 CISCO3661-AC
2 CAB-ACI
1 S366CK2-12105T
1 MEM3600-8U16FS
1 MEM3600-32U128D
2 NM-1FE1R2W
3 WIC-2T
1 AIM-VPN/HP
1 NM-1CE1B
6 CAB-SS-V35MT
1 UPS SERIE Andromeda Plus
Estensione Router CISCO 3660 composto da: |  | 1 | 93.28 | 93.28 | 36 | 2012-01-01 | 3358.08
1 CISCO 827 - ADSL
1 S820C-12202XH
1 CAB-ADSL-RJ11
1 CAB-ETH-S-RJ45
10 WS-G5484
Stampante digitale a colori con piegacucitrice | OKI C9400 | 1 | 111 | 111 | 36 | 2012-01-01 | 3996
SISTEMA MULTIMEDIALE (Sala Riunioni CED) composto da: |  | 1 | 44.4 | 44.4 | 36 | 2012-01-01 | 1598.4
1 proiettore video | SONY VPL-S800 | [5 empty] | 0
1 scheda aggiuntiva per proiettore video | SONY IFB 21 | [5 empty] | 0
1 ottica per proiettore video | SONY VPLL-ZP40 | [5 empty] | 0
1 lavagna luminosa | SONY VID-P100 | [5 empty] | 0
1 schermo motorizzato 300 x 200 | PROJECTA MATT WHITE | [5 empty] | 0
2 interfaccia RGBHV 130 KHz | EXTROM RGB 109 PLUS | [5 empty] | 0
1 videoregistratore VHS stereo, 3 testine video | SONY SLV | [5 empty] | 0
1 mixer | A/V SONY SRP 3900 con amplificatore LINEA 100V TOA VP1060 | [5 empty] | 0
4 casse acustiche | BOSE model 32w | [5 empty] | 0
1 sistema radiomicrofono UHF completo di: | [6 empty] | 0
trasmettitore da tasca | [6 empty] | 0
ricevitore diversity | [6 empty] | 0
16 frequenze commutabili | [6 empty] | 0
microfono a clip Sennheiser MKE 2-1053 | [6 empty] | 0
1 rack di contenimento degli apparati da 20 unità | [6 empty] | 0
Sistema di videoproiezione DigitalWallDisplay |  | 1 | 114.25 | 114.25 | 36 | 2012-01-01 | 4113
Sistema di videoproiezione digitale: Videoproiettore EPSON | EMP-7800 | 1 | 18.23 | 18.23 | 36 | 2012-01-01 | 656.28
Switch 3C LSw 2700-12p |  | 1 | 8.4 | 8.4 | 36 | 2012-01-01 | 302.4
Video ingranditore ottico Tieman Clearview Bright |  | 3 | 10.94 | 32.82 | 36 | 2012-01-01 | 1181.52
Screen reader JAWS V. 5.0 professional |  | 3 | 7.96 | 23.88 | 36 | 2012-01-01 | 859.68
software di ingrandimento schermo LUNARPLUS |  | 3 | 3.32 | 9.96 | 36 | 2012-01-01 | 358.56
display braille ALVA Satellite | Traveller 40 | 3 | 15.25 | 45.75 | 36 | 2012-01-01 | 1647
Realizzazione rete 'vlan eth wireless' presso Campus D.G.: Access Point 1.220 CISCO |  | 42 | 2.65 | 111.3 | 36 | 2012-01-01 | 4006.8
Sistema per la duplicazione ed etichettatura di CD-R e DVD-R completo di: N. 1 PC; N. 4 masterizzatori;N. 3 stampanti EVEREST; accessori. | RIMAGE PROTEGE II | 1 | 247.34 | 247.34 | 36 | 2012-01-01 | 8904.24
single node 4980 | 9130-4961
Disc Array 6841-7456 | 6000-9124
AWS console | 2300-1601
AWS monitor LCD 17" | 2020-1701
CONTRATTO ESSO / ELA: Switch x CISCO | 6513 | 1 | 656.49 | 656.49 | 36 | 2012-01-01 | 23633.64
CVPN3030E-RED-K9 |  | 2 | 102.78 | 205.56 | 36 | 2012-01-01 | 7400.16
CVPN3030-SW-47K9 |  | 2 | 12.6 | 25.2 | 36 | 2012-01-01 | 907.2
CSACSE-1112-K9 | CISCO Secure ACS 3.3 Solution | 1 | 55.04 | 55.04 | 36 | 2012-01-01 | 1981.44
SWITCH WS-C2940-8TT-S | 8 10/100 Eth ports e 1 10/100/1000 Eth ports | 4 | 3.64 | 14.56 | 36 | 2012-01-01 | 524.16
BUSINESS CONTINUITY per x Ambiente Server farm |  |  | 0 | 0 | 36 | 2012-01-01 | 0
IBM SAN SWITCHES | 2005-B16 | 2 | 82.23 | 164.46 | 36 | 2012-01-01 | 5920.56
IBM R/S6000 RACK completo PDU e console | 7014-T42 | 1 | 39.78 | 39.78 | 36 | 2012-01-01 | 1432.08
IBM SAN SWITCHES TOTALSTORAGE | 2005-B32 | 2 | 202.25 | 404.5 | 36 | 2012-01-01 | 14562
IBM TS 3500 TAPE LIBRARY FULL | 3584-L23 | 1 | 456.89 | 456.89 | 36 | 2012-01-01 | 16448.04
IBM TS1120 TAPE DRIVE ULTRIUM | 3592-E05 | 4 | 189.65 | 758.6 | 36 | 2012-01-01 | 27309.6
HP 9000 SuperDome Server Solution per ambiente produzione |  | 2 | 8741.11 | 17482.22 | 36 | 2012-01-01 | 629359.92
SuperDome 16 way cabinet |  | 2 |  |  |  |  | 0
HP SD mx2 4 CPU Processor Assembly |  | 2 |  |  |  |  | 0
Mem. module 4GB,set of 4 1GB Dimms |  | 2 |  |  |  |  | 0
Mem. module 8GB,set of 4 2GB Dimms |  | 2 |  |  |  |  | 0
12 Slot PCI-X Chassis f SD Itanium2 |  | 2 |  |  |  |  | 0
PCI Ultra160 SCSI Adapter |  | 2 |  |  |  |  | 0
PCI-X 2Gb Rmkt Fibre Chan,1000Base-T HBA |  | 2 |  |  |  |  | 0
HP PCI-X 2 Port 1000Base-T GB Adptr |  | 2 |  |  |  |  | 0
HP Tape Array 5300 (factory-racked) |  | 2 |  |  |  |  | 0
HP DAT 72 Array Module (carbon) |  | 2 |  |  |  |  | 0
HP DVD+RW Array Module |  | 2 |  |  |  |  | 0
HP ProCurve Switch 6108 |  | 2 |  |  |  |  | 0
SERVER HP INTEGRITY rx4640: 2 per ambiente QA - 1 per sviluppo - 1 per produzione - 2 per sviluppo e QA | [6 empty] | 0
rx4640 mx2 1.1GHz - HPUX (AB370B) [#1] |  | 6 |  |  |  |  | 0
HP mx2 dual processor rx4640-8 module |  | 6 |  |  |  |  | 0
4GB DDR memory quad (4 x 1GB) |  | 6 |  |  |  |  | 0
32DIMM mem carrier board, 4U chassis |  | 6 |  |  |  |  | 0
73GB 15K HotPlug Ultra320 LP disk drive |  | 6 |  |  |  |  | 0
PCI-X 2 port 1000Base-T Gigabit Adptr |  | 6 |  |  |  |  | 0
PCI-X 2Gb Fibre Channel, 1000Base-T HBA |  | 6 |  |  |  |  | 0
SERVER HP INTEGRITY rx7620 per ambiente produzione | [6 empty] | 0
HP server 4-way rx7620 FAST Solution |  | 2 |  |  |  |  | 0
4 1.1GHz Intel Itanium2 rx7620 MX2 CPU |  | 2 |  |  |  |  | 0
HP mx2 Dual CPU for rx7620/rx8620 |  | 2 |  |  |  |  | 0
Rp74/84, rx76/86 cpu, memory cell board |  | 2 |  |  |  |  | 0
HP 8GB HD SyncDRAM Midrange Memory |  | 2 |  |  |  |  | 0
73G 15K hard disk for rx76/86, rp74/84 |  | 2 |  |  |  |  | 0
DVD+RW Drive for rx76/86,rp74/84 |  | 2 |  |  |  |  | 0
PCI-X 2 port 1000Base-T Gigabit Adptr |  | 2 |  |  |  |  | 0
PCI-X 2Gb Fibre Channel, 1000Base-T HBA |  | 2 |  |  |  |  | 0
SWITCH STORAGEWORKS SAN | [6 empty] | 0
HP StorageWorks SAN switch 2/16V |  | 2 |  |  |  |  | 0
HP 2Gb Short Wave Transceiver |  | 2 |  |  |  |  | 0
HP StorageWorks SAN switch 2/16N Pwr Pak |  | 2 |  |  |  |  | 0
HP 2Gb Short Wave Transceiver |  | 2 |  |  |  |  | 0
SISTEMA STORAGE HP EVA 5000 | [6 empty] | 0
EVA5K 2C6D-C CTO 50Hz 42U Graphite |  | 1 |  |  |  |  | 0
72GB 10k RPM 2Gb FC HDD Upgrade |  | 1 |  |  |  |  | 0
HP M5314A FC Drive Rmkt Enclosure |  | 1 |  |  |  |  | 0
2GB 10k RPM 2Gb FC HDD Upgrade |  | 1 |  |  |  |  | 0
HP DL380-3.4G Hpm Storage SAN Rmkt Svr |  | 1 |  |  |  |  | 0
LIBRERIA PER DISCHI OTTICI HP ESL 322e | [6 empty] | 0
HP ESL 322e Ultrium Tape Library |  | 1 |  |  |  |  | 0
HP StorageWorks ESL E e2400-FC 2G Cntrlr |  | 1 |  |  |  |  | 0
HP StorageWorks ESL E Ultrium 460 NFC Dr |  | 1 |  |  |  |  | 0
MES EVA5000 ADD-ON 146GB Disks composto da: |  | 1 | 2320.91 | 2320.91 | 36 | 2012-01-01 | 83552.76
Eva 54K 42U Utility CAB - |  | 1 |  |  |  |  | 0
HP M5314A FC Drive encl. |  | 1 |  |  |  |  | 0
-HP EVA 146GB 15K FC add HD |  | 11 |  |  |  |  | 0
HP M5314A FC Drive Encl |  | 6 |  |  |  |  | 0
HP EVA 146GB 15K FC add HD |  | 72 |  |  |  |  | 0
Cable kit exp cab |  | 7 |  |  |  |  | 0
HP EVA 146GB 15K FC add HD |  | 22 |  |  |  |  | 0
HP M53114A FCDrive encl. |  | 1 |  |  |  |  | 0
HP EVA 146GB 15K FC add HD |  | 12 |  |  |  |  | 0
Multiprotocol Router 8 Porte | [6 empty] | 0
Fbr Optic Cbl 30m LC Duplex 5/125 M/M |  | 32 |  |  |  |  | 0
HP Storagework Multiprotocol Router |  | 4 |  |  |  |  | 0
HP2GB short wawe transceiver |  | 32 |  |  |  |  | 0
Codice CA per EVA 5000 | [6 empty] | 0
HP Continuous Access EVA5K Unlimited LTU |  | 1 |  |  |  |  | 0
HP Continuous Access EVA Media kit |  | 1 |  |  |  |  | 0
Switch CISCO | 6509 | 1 | 629.97 | 629.97 | 36 | 2012-01-01 | 22678.92
TAPE DRIVE STK completo di cavi | T9940B FC2 - STK | 4 | 275.19 | 1100.76 | 36 | 2012-01-01 | 39627.36
IBM 9119 | 595 | 1 | 3594.1 | 3594.1 | 36 | 2012-01-01 | 129387.6
IBM 2109 | M12 + C36 | 1 | 895.21 | 895.21 | 36 | 2012-01-01 | 32227.56
Server IBM Blade HS20 config: 2 CPU Xeon 3.20/533MHZ+ 512 KB - L2 + 4MB cache L3 + 4 Gb mem PC2100 + Fiber CH exp card + Opt.passthru module + SK Netxtreme 1000 | 8843 | 12 | 122.68 | 1472.16 | 12 | 2012-01-01 | 17665.92
Server IBM Blade JS20 config: 2 CPU Xeon 3.00/400 Mhz + 512 KB - L2 + 4MB - L3 + 4 Gb PC2100R mem + Fiber CH exp card + Opt.passthru 5 module SC/LC cable | 8843 | 1 | 116.05 | 116.05 | 12 | 2012-01-01 | 1392.6
Server IBM | 8839 -71X | 6 | 135.94 | 815.64 | 12 | 2012-01-01 | 9787.68
Switch x CISCO Catalyst | 6513 | 2 | 629.97 | 1259.94 | 36 | 2012-01-01 | 45357.84
UP - GRADE IBM VTS composta da: |  | 1 | 8162.99 | 8162.99 | 36 | 2012-01-01 | 293867.64
N. 2 IBM VTS | 3494 B20
N. 2 IBM VTS | 3494 HA1
N. 1 IBM VTS | 3494 L12
N. 3 IBM VTS | 3494 CX1
N. 1 IBM VTS | 3494 D24
N. 2 IBM VTS | 3494 D22
N. 1 IBM VTS | 3494 D12
IBM | 3592 J1A | 28 | 169.09 | 4734.52 | 36 | 2012-01-01 | 170442.72
UPS Andromeda Plus potenza 50KVa | BRACAMORO | 2 | 131.96 | 263.92 | 36 | 2012-01-01 | 9501.12
Server IBM – 8 cpu | X460 | 4 | 513.92 | 2055.68 | 12 | 2012-01-01 | 24668.16
Server IBM – 4cpu | X460 | 2 | 109.41 | 218.82 | 12 | 2012-01-01 | 2625.84
Server IBM blade | HS40 | 6 | 102.78 | 616.68 | 12 | 2012-01-01 | 7400.16
Server IBM blade | HS20 | 6 | 25.53 | 153.18 | 12 | 2012-01-01 | 1838.16
RACK IBM | S242U | 1 | 21.89 | 21.89 | 36 | 2012-01-01 | 788.04
DISCO DS8100 da 7Tb | 2107 mod. 921 | 1 | 1545.07 | 1545.07 | 36 | 2012-01-01 | 55622.52
Schede 24-porte x Cisco 6513 | CISCO | 4 | 45.43 | 181.72 | 36 | 2012-01-01 | 6541.92
GE SFP, LC connector SX transceiver | CISCO | 96 | 1.65 | 158.4 | 36 | 2012-01-01 | 5702.4
Schede 48-porte x Cisco 6513 | CISCO | 2 | 36.47 | 72.94 | 36 | 2012-01-01 | 2625.84
Server IBM – 4 cpu Xeon, 32GB, 4 schede Fiber Channel, 4 schede fiber ethernet | X3950 | 2 | 109.41 | 218.82 | 36 | 2012-01-01 | 7877.52
Server IBM blade - 4 cpu Xeon, 8GB, Fibre Channel expansion card | HS20 | 2 | 25.53 | 51.06 | 12 | 2012-01-01 | 612.72
Server IBM - 8 CPU Xeon, 64 GB, 4 schede Fiber Channel, 4 schede fiber ethernet | X3950 | 2 | 513.92 | 1027.84 | 36 | 2012-01-01 | 37002.24
Server IBM – 4 cpu Xeon, 16GB, 4 schede Fiber Channel, 4 schede fiber ethernet | X3950 | 3 | 109.41 | 328.23 | 36 | 2012-01-01 | 11816.28
Server IBM - 8 CPU Xeon, 32 GB, 4 schede Fiber Channel, 4 schede fiber ethernet | X3950 | 4 | 435 | 1740 | 36 | 2012-01-01 | 62640
Server IBM blade - 4 cpu Xeon, 8GB, Fibre Channel expansion card | LS41 | 14 | 102.78 | 1438.92 | 24 | 2012-01-01 | 34534.08
Server IBM blade - 2 cpu Xeon, 4GB, Fibre Channel expansion card | HS21 | 1 | 25.53 | 25.53 | 24 | 2012-01-01 | 612.72
SAN Director TotalStorage Cabinet | 2109-C36 | 1 | 23.21 | 23.21 | 36 | 2012-01-01 | 835.56
SAN Director (Storage Area Network) 96 porte | 2109-M48 | 2 | 964.84 | 1929.68 | 36 | 2012-01-01 | 69468.48
Potenziamento DISCO IBM DS8100 da 10Tb | 2107 mod. 921 | 1 | 1621.32 | 1621.32 | 36 | 2012-01-01 | 58367.52
Schede 24-porte x Cisco 6513 | CISCO | 2 | 45.43 | 90.86 | 36 | 2012-01-01 | 3270.96
GE SFP, LC connector SX transceiver | CISCO | 48 | 1.65 | 79.2 | 36 | 2012-01-01 | 2851.2
Schede 48-porte x Cisco 6513 | CISCO | 2 | 36.47 | 72.94 | 36 | 2012-01-01 | 2625.84
Server IBM - 8 CPU Xeon, 64 GB, 4 schede Fiber Channel, 4 schede fiber ethernet | Server X3950 | 8 | 513.92 | 4111.36 | 24 | 2012-01-01 | 98672.64
Server IBM - 8 CPU Xeon, 32 GB, 4 schede Fiber Channel, 4 schede fiber ethernet | Server X3950 | 20 | 424.4 | 8488 | 24 | 2012-01-01 | 203712
Potenziamento DISCO DS8100 da 10Tb | 2107 mod. 921 | 1 | 1621.32 | 1621.32 | 36 | 2012-01-01 | 58367.52
Switch CISCO Catalyst | 6513 CISCO | 2 | 6.3 | 12.6 | 36 | 2012-01-01 | 453.6
Potenziamento CISCO (SCSA e SCSB) | 6513 CISCO | 2 | 2.62 | 5.24 | 36 | 2012-01-01 | 188.64
Potenziamento CISCO (SF1 e SF2) | 6513 CISCO | 2 | 77.92 | 155.84 | 36 | 2012-01-01 | 5610.24
Potenziamento pSeries Data Warehouse IBM p595 - 16 CPU aggiuntivi - 64GB di memoria aggiuntiva | 9119 | 1 | 2267.87 | 2267.87 | 36 | 2012-01-01 | 81643.32
Nuovo DISCO DS8100 Data Warehouse da 17Tb - 16GB cache - 8 interfacce FC | 2107 mod. 921 | 1 | 1117.35 | 1117.35 | 36 | 2012-01-01 | 40224.6
Potenziamento DISCO IBM DS8100 da 8Tb e aggiunta di nr. 2 Cards "GB Ficon adapter | 2107 mod. 921 | 1 | 817.63 | 817.63 | 36 | 2012-01-01 | 29434.68
Sistema composto da: 6 cpu itanium single-core Madison @ 1,6 Ghz e 6 Mb, 16 Gb di Ram, 2 dischi interni da 146 Gb, 1 Dvd +Rw, 2 schede HBA FC da 2 Gb single port, 3 schede Lan Gbit single port, 1 smart array Raid 6402 dual channel, 1 disk array esterno M | RX7620 | 1 | 426.8 | 426.8 | 36 | 2012-01-01 | 15364.8
Sistema composto da: 3 cpu itanium dual-core Montecito @ 1,6 Ghz e 24 Mb di cache (6 core), 8 Gb di Ram, 2 dischi interni da 146 Gb, 1 Dvd Rom, 1 smart array Raid 6402 dual channel, 3 schede Pci-X dual port Lan GBit, 1 disk array esterno MSA30 con 6 dischI | RX4640 | 1 | 271.04 | 271.04 | 36 | 2012-01-01 | 9757.44
Sistema composto da: 4 cpu intel @ 2,8 Ghz e 4 Mb di cache, 4 Gb di Ram, 2 dischi interni da 146 Gb, 1 Dvd Rom, 4 schede Pci-X dual port Lan GBit, Dat esterno | DL580 | 1 | 51.57 | 51.57 | 36 | 2012-01-01 | 1856.52
Sistemi composto da: 2 cpu intel @ 2,8 Ghz e 4 Mb di cache, 4 Gb di Ram, 2 dischi interni da 146 Gb, 1 Dvd Rom, 4 schede Pci-X dual port Lan GBit, Dat esterno | DL580 | 2 | 32.56 | 65.12 | 36 | 2012-01-01 | 2344.32
Progetto di backup centralizzato dei sistemi OPEN composto dalle seguenti apparecchiature: | SUN STK | 1 | 8870.4 | 8870.4 | 36 | 2012-01-01 | 319334.4
SUN STK libreria a nastro robotizzata | SL 8500 | 1
SUN STK DRIVE | T 10000A | 12
SUN STK DATA Tapes | T 10000 | 20
SUN STK CLEANING CARTRIDGES | T 10000 | 3
Virtual tape LIBRARY da 90 TB caching | SUN VTL PLUS | 1
HP server | DL-580 | 1 | 117.13 | 117.13 | 12 | 2012-01-01 | 1405.56
HP server | DL-380 | 4 | 40.48 | 161.92 | 12 | 2012-01-01 | 1943.04
HP server | DL-140 | 2 | 39.16 | 78.32 | 12 | 2012-01-01 | 939.84
Nortel SWITCH | 3510-24T | 8 | 40.48 | 323.84 | 12 | 2012-01-01 | 3886.08
F5- Compressori di rete | BIG-IP 6400 | 2 | 398.2 | 796.4 | 36 | 2012-01-01 | 28670.4
F5- Compressori di rete | BIG-IP 8400 | 4 | 642.4 | 2569.6 | 36 | 2012-01-01 | 92505.6
HP-console | TFT HP 7600 | 2 | 18.6 | 37.2 | 36 | 2012-01-01 | 1339.2
UP-GRADE DISCO IBM DS8100 (già 10Tb) (s.n.75ANAH0) - Ambiente Server Farm | 2107 | 1 | 9605 | 9605 | 36 | 2012-01-01 | 345780
DISCO IBM DS8300 - Ambiente Server Farm /Sviluppo | 2423 | 1 | 2978 | 2978 | 36 | 2012-01-01 | 107208
UP-GRADE SAN Director 2109-M48 (Storage Area Network, già 96 porte) (s.n. 100346A e n. 100325N) | 2109 | 2 | 630 | 1260 | 36 | 2012-01-01 | 45360
UP-GRADE IBM TS3500 TAPE LIBRARY FULL (già 3584-L23) (s.n.78A1032) | 3584 | 1 | 621 | 621 | 36 | 2012-01-01 | 22356
Up grade Ambiente Server Farm - Datawarehouse:
UP-GRADE TOTAL STORAGE IBM DS8100 (già 2107-921) (s.n. 75AKXY0) | 2107 | 1 | 2280 | 2280 | 36 | 2012-01-01 | 82080
UP-GRADE TOTAL STORAGE IBM DS8100 (già 2107-921) (s.n. 75FBYB0) | 2107 | 1 | 1824 | 1824 | 36 | 2012-01-01 | 65664
DISCO IBM DS8100 - Ambiente Sviluppo | 2423 | 2 | 1350 | 2700 | 36 | 2012-01-01 | 97200
UP-GRADE IBM TS3500 Tape Library (già VTS) Sistemi centrali | 3584 | 1 | 3010 | 3010 | 36 | 2012-01-01 | 108360
N. 10 | 3584-D23
N. 1 | 3584-HA1
N. 1 | 3584-L23
N. 16 | 3592-E05
N. 1 | 3953-F05
N. 2 | 3953-L05
Switch CISCO Catalyst 6500 per Ambiente Server Farm | WS-C6513 | 2 | 698 | 1396 | 36 | 2012-01-01 | 50256
Switch CISCO Catalyst 3750 | WS-C3750G-48TS-S | 4 | 58 | 232 | 36 | 2012-01-01 | 8352
Apparati Cisco per infrastruttura UC2 - Progetto Communication | WS 6513 | 1 | 785 | 785 | 36 | 2012-01-01 | 28260
Bridge Teleclient - switch VOIP -Int. Sametime | Bridge Teleclient - | 1 | 1160 | 1160 | 36 | 2012-01-01 | 41760
Progetto Virtual Client: PC THIN WARE | Wyse V10L | 30 | 1.35 | 40.5 | 36 | 2012-01-01 | 1458
PC THIN WARE | Wyse V10L | 5 | 2.2 | 11 | 36 | 2012-01-01 | 396
Progetto Show Room: PC THIN comprensivo di mouse, tastiera e monitor schermo piatto 19” TFT LCD risoluzione 1280x1024 | Thinware Lt210 | 21 | 3.1 | 65.1 | 36 | 2012-01-01 | 2343.6
Apparecchiature IBM xSeries: x3950, 2xXeon 7150N 3.5GHz/667MHz/16MB L3, 2x2GB,O/Bay HS SAS, CD-RW/DVD, S/Raid 8i, 2x1300W p/s, Rack + Intel Xeon Dual Core Processor Model 7150N 3.5GHz/16MB L3 + 4GB (2x2GB) PC2-3200 CL3 ECC DDR2 SDRAM RDIMM Memory Kit + 8GB (2x4GB) PC2-3200 CL3 ECC DDR2 SDRAM RDIMM Memory Kit + DS4000 1-pt PCI-X 4 Gbps HBA + NetXtreme 1000 SX+ Fibre Ethernet Adapter + Scalabity cable | x3950M2 | 5 | 340 | 1700 | 36 | 2012-01-01 | 61200
Rack NetBAY42 ER Enterprise Rack Cabinet - 42u standalone/primary + IBM 1x8 Console Switch + 1U 15in Flat Panel Monitor Console Kit w/o keyboard + IBM Keyboard with Integrated Pointing Device - 3m Cable - Black - PS/2 - Italy/Italian + IBM DPI C19 Enterprise PDU w/o Line Cord + DPI Universal Rack PDU (Italy) + 4.3m, 10A/100-250V, C13 to IEC 320-C14 Rack Power Cable | NetBAY42 ER | 2 | 60 | 120 | 36 | 2012-01-01 | 4320
Rack NetBAY42 ER Enterprise Rack Cabinet - 42u standalone/primary + IBM 1x8 Console Switch + 1U 15in Flat Panel Monitor Console Kit w/o keyboard + IBM Keyboard with Integrated Pointing Device - 3m Cable - Black - PS/2 - Italy/Italian + IBM DPI C19 Enterprise PDU w/o Line Cord + DPI Universal Rack PDU (Italy) + 4.3m, 10A/100-250V, C13 to IEC 320-C14 Rack Power Cable | NetBAY42 ER | 1 | 60 | 60 | 36 | 2012-01-01 | 2160
IBM eServer BladeCenter(tm) H Chassis with 2x2900W PSU + IBM BladeCenter(tm) H 2900W AC Power Supply Modules + Cisco Systems Fiber Intelligent Gigabit Ethernet Switch Module for IBM BladeCenter + 4 Gbps SW SFP Transceiver 4 Pack + Brocade® 20-port 4 Gb SAN Switch Module for IBM BladeCenter™ | Blade Server | 5 | 178 | 890 | 36 | 2012-01-01 | 32040
Server IBM LS41, 2xOpteron (TM) Dual Core 8220 2.8GHz/1000MHz/2MB L2, 4x1GB, O/Bay SAS, MPE + AMD Opteron Dual Core Processor Model 8220 95w 2.8GHz/2MB L2 + 4GB (2x2GB) PC2-5300 CL4 ECC DDR2 SDRAM VLP RDIMM Memory Kit + QLogic 4Gb SFF Fibre Channel Expansion Card for IBM eServer BladeCenter | LS41 | 17 | 112 | 1904 | 36 | 2012-01-01 | 68544
Rack esistenti installati su Cisco Systems Fiber Intelligent Gigabit Ethernet Switch Module for IBM BladeCenter + 4 Gbps SW SFP Transceiver 4 Pack + Brocade® 20-port 4 Gb SAN Switch Module for IBM BladeCenter™ | IBM/Rittal 42U Enterprise Rack completi di accessori | 10 | 105 | 1050 | 36 | 2012-01-01 | 37800
Server IBM LS41, 2xOpteron (TM) Dual Core 8220 2.8GHz/1000MHz/2MB L2, 4x1GB, O/Bay SAS, MPE + AMD Opteron Dual Core Processor Model 8220 95w 2.8GHz/2MB L2 + 2GB (2x1GB) PC2-5300 CL4 ECC DDR2 SDRAM VLP RDIMM Memory Kit + QLogic 4Gb SFF Fibre Channel Expansion Card for IBM eServer BladeCenter | LS41 | 1 | 103 | 103 | 36 | 2012-01-01 | 3708
Server IBM HS21, Xeon Quad Core X5355 120W 2.66GHz/1333MHz/8MB L2, 2x1GB, O/Bay SAS + Intel Xeon Quad Core Processor Model X5355 120w 2.66GHz/1333MHz/8MB L2 + 2GB (2x1GB) PC2-5300 CL5 ECC DDR2 Chipkill FBDIMM Memory Kit + IBM 73.4GB 10K SFF SAS HDD + QLogic 4Gb SFF Fibre Channel Expansion Card for IBM eServer BladeCenter + | Server IBM HS21 | 9 | 52 | 468 | 36 | 2012-01-01 | 16848
Server IBM HS21, Xeon Quad Core X5355 120W 2.66GHz/1333MHz/8MB L2, 2x1GB, O/Bay SAS + Intel Xeon Quad Core Processor Model X5355 120w 2.66GHz/1333MHz/8MB L2 + 4GB (2x2GB) PC2-5300 CL5 ECC DDR2 Chipkill FBDIMM Memory Kit + IBM 73.4GB 10K SFF SAS HDD + QLogic 4Gb SFF Fibre Channel Expansion Card for IBM eServer BladeCenter | Server IBM HS21 | 2 | 52 | 104 | 36 | 2012-01-01 | 3744
Server IBM HS21 Xeon Quad Core X5355 120W 2.66GHz/1333MHz/8MB L2, 2x1GB, O/Bay SAS + Intel Xeon Quad Core Processor Model X5355 120w 2.66GHz/1333MHz/8MB L2 + 2GB (2x1GB) PC2-5300 CL5 ECC DDR2 Chipkill FBDIMM Memory Kit + IBM 73.4GB 10K SFF SAS HDD + Expansion unit + QLogic 4Gb SFF Fibre Channel Expansion Card for IBM eServer BladeCenter | Server IBM HS21 | 13 | 58 | 754 | 36 | 2012-01-01 | 27144
Server IBM x3500, Xeon Quad Core E5355 120W 2.66GHz/1333MHz/2x4MB L2, 2x512MB, O/Bay HS SAS/SATA, SR-8k, DVD-ROM 16x, 835W p/s, Tower + Intel Xeon Quad Core Processor Model X5355 120w 2.66GHz/1333MHz/8MB L2 + 1GB (2x512MB) PC2-5300 CL5 ECC DDR2 Chipkill FBDIMM Memory Kit + 2GB (2x1GB) PC2-5300 CL5 ECC DDR2 Chipkill FBDIMM Memory Kit + IBM 73GB 3.5in 15K HS SAS HDD + QLogic 4Gb FC Single-Port PCIe HBA for IBM System x + ServeRAID-8k Adapter + | Server IBM x3500 | 2 | 51.5 | 103 | 36 | 2012-01-01 | 3708
Console IBM T117 17-in TFT Monitor | T117 | 2 | 2.5 | 5 | 36 | 2012-01-01 | 180
Server X3950M2 4 CPU/64 GB (in sostituzione dei X3950M2 con 4CPU/32 GB) | sf | 19 | 159 | 3021 | 36 | 2012-01-01 | 108756
Blade LS42 4 CPU/64 GB (in sostituzione dei Blade LS41 4 CPU/16 GB) | sf | 45 | 75 | 3375 | 36 | 2012-01-01 | 121500
Blade Center H | sf | 7 | 168 | 1176 | 36 | 2012-01-01 | 42336
Componentistica per Rack 42 Unit | sf | 6 | 36 | 216 | 36 | 2012-01-01 | 7776
Aggiornamento tecnologico DS8300 schede canali a 4 Gbps | sf | 8 | 140 | 1120 | 36 | 2012-01-01 | 40320
Adeguamento DS8300 cache 128 Gb | sf | 1 | 1605 | 1605 | 36 | 2012-01-01 | 57780
Potenziamento TB raw su DS8300 75anah0 | sf | 14.4 | 48 | 691.2 | 36 | 2012-01-01 | 24883.2
Integrazione TB su tecnologia FATA – DS8300 75cb150 | sf | 28.8 | 48 | 1382.4 | 36 | 2012-01-01 | 49766.4
Moduli da 32 porte e routing (con rack) Director 2109-M48 + 4 Gbps | sf | 12 | 278 | 3336 | 36 | 2012-01-01 | 120096
CISCO WS-C6513 Catalyst per Server Farm | rete | 2 | 1250 | 2500 | 36 | 2012-01-01 | 90000
Adeguamento CISCO per Communication composto da:CP-7921G-E-K9 + Incremento Licenze Call Manager + Cisco Secure ACS 4.X Solution Engine 1113 Appliance | rete | 1 | 435 | 435 | 36 | 2012-01-01 | 15660
Thinware mod. P1000, comprensivi di mouse, tastiera, monitor 17” TFT LCD 1280x1024 colore Silver Black connection Broker per la gestione dell’infrastruttura virtualizzata | p1000 | 150 | 5 | 750 | 36 | 2012-01-01 | 27000
Moduli da 32 porte (con rack) Director 2109-M48 4 Gbps | sc | 8 | 181 | 1448 | 36 | 2012-01-01 | 52128
Aggiornamento tecnologico DS8100 schede canali a 4 Gbps | sc | 16 | 47 | 752 | 36 | 2012-01-01 | 27072
Aggiornamento tecnologico DS8100 schede canali a 4 Gbps | sc | 16 | 47 | 752 | 36 | 2012-01-01 | 27072
Storage HP Array comprensivo di n. 90 dischi da 450Gb, 8Gb cache, 8FC ports Front-end 4Gbps, 1500 rpmFC (pari a 28TbRaid 5 useable), 12 disk enclosures | EVA 8100 | 1 | 1260 | 1260 | 36 | 2012-01-01 | 45360
Enterprise machines Virtualtape Library - Complete Appliance – kit includes support for both IP/iSCSI and Fibre Channel host connections, on systems with 1-4 CPUs. 120 TB caching. To be configured as an active-active cluster to eliminate single point of failure (SPOF) | SUN STK VTL PLUS | 1 | 16060 | 16060 | 31 | 2012-06-01 | 497860
SUN STORAGETEK DRIVE unità nastro con 4Gb fibre channel interface and 500Gb capacity | SUN Storagetek T10000A | 12
SUN Storagetek T10000 Data. Pastel Horizontal label, Product sold as 20 Pack not inizialized | SUN Storagetek T10000A Data | 20
SUN Storagetek T10000 Cleaning cartridge,labeled, Product sold as 5 Pack | SUN Storagetek T10000A Cleaning | 3
Up grade libreria robotica SUN STORAGETEK da 2000 a 3500 slot | SL 8500 | 1
Enterprise machines Virtualtape Library - Complete Appliance – kit includes support for both IP/iSCSI and Fibre Channel host connections, on systems with 1-4 CPUs. 120 TB caching. To be configured as an active-active cluster to eliminate single point of failure (SPOF) via transparent fail over and fail back-capabilities.Support for additional 512 virtual tape. Monitors the health of the storage infrastructure managed by the VTL appliance. Sun StorageTek open systems software, Automated Cartridge System Library Software (ACSLS), up to 3500 concurrent cartridge support.Sun StorageTek open systems software, Automated Cartridge System Library Software (ACSLS) High-Availability (HA) agent - restricted distribution | SUN STK VTL PLUS + NetINPS | 1 | 18890 | 18890 | 36 | 2012-01-01 | 680040
SUN Storagetek T10000A Drive with 4 Gb Fibre Channel Interface and 2 short wave ports for the SL 8500 with 500 GB capacity and 120 Mb/sec throughput ROHS5 | SUN Storagetek T10000A | 12
SUN Storagetek T10000 Data. Pastel Horizontal label, Product sold as 20 Pack not inizialized | SUN Storagetek T10000A Data | 100
SUN Storagetek T10000 Cleaning cartridge,labeled, Product sold as 5 Pack | SUN Storagetek T10000A Cleaning | 2
Sun StorageTek 9940 Data, Vibrant label, Product is not initialized, Product sold as 30 pack | SUN Storagetek 9940 Data | 34
Sun StorageTek 9940 Cleaning Cartridge, Labeled,Product sold as 5 Pack | SUN Storagetek 9940 Cleaning | 2
Sun StorageTek SL8500 Tape Library, Base. Installation included. RoHS-5 Compliant – Upgrade to 3500 slot - 3 expansion frame - Conversion Bill, 4 HandBots. If buying a new library, order quantity is 1 toget 4 HandBots or quantity is 2 to get 8 HandBots . Can be used to upgrade from 4 HandBots to 8 HandBots. | SUN StorageTek SL8500 Tape Library | 1
Sun SPARC Enterprise T5240 Server, 2 * 8 Core 1.2GHz UltraSPARC T2 Plus processors, 64GB FBDIMM memory (16 * 4GB), 8 disk capacity, 2 * 146GB 10K RPM SAS disks, 1 DVD+/-RW, 4 - 10/100/1000 Ethernet ports, 1 serial port, 4 USB ports, 4 dedicated PCI-E low profile slot, 2 PCI-E low profile or XAUI (10Gb ethernet) slots, 2 (N+1) 1100W power supplies, Solaris 10 and Java Enterprise System software pre-installed, RoHS-6 compliant. (Standard Configuration) | Sun SPARC Enterprise T5240 Server | 10
Apparati storage di produzione Server Farm - Upgrade DS8300 S/N 75L7710 | 2421-92E | 1 | 3185 | 3185 | 36 | 2012-01-01 | 114660
Apparati SAN/TAN di produzione Server Farm - Upgrade 140TB TPC-SE | SW | 1 | 746 | 746 | 36 | 2012-01-01 | 26856
Apparati SAN/TAN di produzione Server Farm - Upgrade 40TB TPC-R | SW | 1 | 472 | 472 | 36 | 2012-01-01 | 16992
Apparati SAN/TAN di produzione Server Farm - Upgrade Director S/N 100346A e 100325N | 2109-M48 | 1 | 242 | 242 | 36 | 2012-01-01 | 8712
Apparati SAN/TAN di produzione Server Farm - Nuovi Director | 2109-M48 | 1 | 869 | 869 | 36 | 2012-01-01 | 31284
Nuovi Switch per TAN Server Farm DCSIT | 2498-B80 | 1 | 308 | 308 | 36 | 2012-01-01 | 11088
Apparati SAN/TAN di produzione Server Farm - Switch FCoE NEXUS | 3722-S51 | 1 | 201 | 201 | 36 | 2012-01-01 | 7236
Apparati SAN/TAN di produzione Server Farm - NAS Gateway per File Server | 2858-A22 | 1 | 780 | 780 | 36 | 2012-01-01 | 28080
Apparati SAN/TAN di produzione Server Farm - Datacenter Fabric Manager | 5639-D1F | 1 | 119.5 | 119.5 | 36 | 2012-01-01 | 4302
IBM 42U Enterprise Rack - 1U 17in Flat Panel Monitor Console Kit w/o keyboard - IBM Keyboard with Integrated Pointing Device- 3m Cable - Black - USB - Italy/Italian - IBM DPI C19 Enterprise PDU w/o Line Cord - IBM 2x16 Console Switch - 3m Console Switch Cable (USB) - Rear Door Heat Exchanger | IBM 42U Enterprise Rack | 2 | 36 | 72 | 36 | 2012-01-01 | 2592
x3950M2 (128GB RAM) - x3950 M2, 2 x Xeon Six Core X7460 130W 2.66GHz/1066MHz/16MB L3, 8x2GB, O/Bay HS 2.5in SAS, UltraSlim Enhanced SATA CD-RW / DVD-ROM Combo, 2x1440W p/s, Rack - Intel Xeon Six Core Processor Model X7460 130W 2.66GHz/1066MHz/16MB L3 - 8GB (2x4GB) PC2-5300 CL5 ECC DDR2 667 LP RDIMM Memory Kit - QLogic 4Gb FC Single-Port PCIe HBA for IBM System x PRO/1000 PF Server Adapter | Server IBM x3950 M2 | 11 | 149 | 1639 | 36 | 2012-01-01 | 59004
Blade Center H - IBM eServer BladeCenter(tm) H Chassis with 2x2900W PSU - IBM BladeCenter H 2900W AC Power Module w/Fan Pack - Cisco Catalyst Switch Module 3110X for IBM BladeCenter - Brocade(R) 20-port 4 Gb SAN Switch Module for IBM BladeCenter™ - IBM Short Wave SFP Module - IBM UltraSlim Enhanced SATA Multi-Burner - 2.8m, 200-240V, Triple 16A IEC 320-C20 - Cisco Nexus 4001l Eth Switch S/W Upgrade Lic for Cisco Nexus 4001I | Blade center H | 9 | 218 | 1962 | 36 | 2012-01-01 | 70632
Lame LS42 (64GB RAM) - LS42, 2xAMD Opteron Quad Core 8376 HE 2.3GHz/6MB L3, 4x1GB, O/Bays SAS - 8GB (2x4GB) PC2-6400 CL6 ECC DDR2 800 VLP RDIMM - QLogic 4Gb SFF Fibre Channel Expansion Card for IBM eServer BladeCenter - LS42 Multi Processor Exp Unit: Processor Model 8376 HE (2x 2.3GHz) | Server IBM LS42 | 49 | 53.5 | 2621.5 | 36 | 2012-01-01 | 94374
QLogic 4GB FC Single-Port PCIe HBA for IBM System x | componentistica | 8 | 3 | 24 | 36 | 2012-01-01 | 864
IBM Short Wave SFP Module | componentistica | 24 | 0.3 | 7.2 | 36 | 2012-01-01 | 259.2
C6K 8 port 10 Gigabit Ethernet module with DFC3C (req. X2) - Included:Catalyst 6500 Dist Fwd Card for WS-X67xx modules - Included:Cat6500 8 port 10 Gigabit Ethernet module (req. DFC and X2) | CISCO | 2 | 128 | 256 | 36 | 2012-01-01 | 9216
10GBASE-SR X2 Module | CISCO | 50 | 6.6 | 330 | 36 | 2012-01-01 | 11880
Cisco StackWise 3M Stacking Cable | CISCO | 8 | 1.1 | 8.8 | 36 | 2012-01-01 | 316.8
Progetto evoluzione Business Continuity e Disaster Recovery dell'INPS per la realizzazione del campus per gli amienti NetInps, IDM, cooperazione applicativa e Datawarehouse, apparati vari:
Server P-Series da P595 a FHA - |  | 1 | 7985 | 7985 | 36 | 2012-01-01 | 287460
Sun Enterprice M9000 |  | 1 | 8090 | 8090 | 36 | 2012-01-01 | 291240
SISTEMA MULTIMEDIALE (Sale MANCINI/MORO/CUBETTO e sala ex2MB composto dalle seguenti apparecchiature: |  | 1 | 2097 | 2097 | 24 | 2012-01-01 | 50328
Monitor TV 17"/43"/47" | LG/PIONEER/HYUNDAY | 9
Monitor TV 10"/15" | JVC/OLIDATA/BELNEA/SONY | 41
Convertitori/Extender | EXTRON/ELCA/GEFEN | 48
Telecamere/DVD-Rec/VHS | AIWA/JVC/FUJINON/PELCO/AETHRA | 22
Lavagna Video/Accessori | BARCO/KODAK/AETHRA/JVC | 25
Diffusori Acustici | TOA/BOSE | 47
Amplificatori | TOA/BOSE | 9
Mixer/Accessori | TELEMETER/FUJINON/VIDEOTEC/YAMAHA/SOUNDCRAFT | 7
Microfoni/Accessori | TOA/SENNHEISER/SYMETRIX/BOSCH/AKG | 234
Videoconferenza/Registratore a Cassette | BOSCH/AETHRA/TOA/YAMAHA | 16
Videosorveglianza PC e Schede di Interfaccia | INTEL/AETHRA | 8
Controller/TLC/TBC/LAN | FUJINON/VIDEOTEC/FORA/TELEMETER/CISCO/BRAND-REX | 17
SCAN/CLIP | JVC/STUDIOSCAN | 5
Titolatrice/Interfaccia di Controllo | ELCA/AMX | 2
Telefono Ibrido/Linea di ritardo/ | SPACE Italia/TOA | 2
SALA SHOW ROOM | TV-LCD SAMSUNG 52 | 3 | 18.5 | 55.5 | 36 | 2012-01-01 | 1998
SALA SHOW ROOM | TV-LCD SAMSUNG 46 | 3 | 17 | 51 | 36 | 2012-01-01 | 1836
IMPERVA | SECURSPHERE | 1 | 642 | 642 | 36 | 2012-01-01 | 23112
TERADATA | 2580 | 1 | 1249 | 1249 | 36 | 2012-01-01 | 44964
switch IBM | 2005-B16 | 2 | 78.5 | 157 | 36 | 2012-01-01 | 5652
IBM Unità exp. Dischi | 1812-81A | 1 | 55 | 55 | 36 | 2012-01-01 | 1980
IBM DS4700 | 181470A | 1 | 632 | 632 | 36 | 2012-01-01 | 22752
IBM 5125 Powerware | 7311-D20 | 1 | 56 | 56 | 36 | 2012-01-01 | 2016
Servet HP | Proliant DL145 | 3 | 38 | 114 | 36 | 2012-01-01 | 4104
CISCO | CATALIST 3750 | 5 | 42.5 | 212.5 | 36 | 2012-01-01 | 7650
IBM Blade | 8852 | 1 | 115 | 115 | 36 | 2012-01-01 | 4140
IBM Blade HS21 | 8853 | 11 | 98 | 1078 | 24 | 2012-01-01 | 25872
IBM Blade HS21 | 7995 | 1 | 98 | 98 | 24 | 2012-01-01 | 2352
Server IBM x3650 | 7979 | 1 | 105 | 105 | 36 | 2012-01-01 | 3780
Server IBM x3850 | 7141 | 1 | 385 | 385 | 36 | 2012-01-01 | 13860
IBM Server x3659 | 7979 | 1 | 105 | 105 | 36 | 2012-01-01 | 3780
NAS | EMC | 4 | 38 | 152 | 36 | 2012-01-01 | 5472
San switch EMC2 | DS5000B | 2 | 195 | 390 | 36 | 2012-01-01 | 14040
Server HP | Netserver E800 | 1 | 53 | 53 | 36 | 2012-01-01 | 1908
Server HP | Netserver LH6000U3 | 1 | 53 | 53 | 36 | 2012-01-01 | 1908
Server HP | Netserver LH6000U4 | 1 | 53 | 53 | 36 | 2012-01-01 | 1908
Server HP | Netserver LH6000U5 | 1 | 53 | 53 | 36 | 2012-01-01 | 1908
Server HP | Netserver LH6000U6 | 1 | 53 | 53 | 36 | 2012-01-01 | 1908
STORAGE Server FARM CUB-7592540 | 2107-922 | 1 | 35648.41 | 35648.41 | 24 | 2013-01-01 | 855561.84 | Opzionale in caso di riscatto
STORAGE Server FARM CUB-7500050 | 2107-92E | 1 | 8300.11 | 8300.11 | 24 | 2013-01-01 | 199202.64 | Opzionale in caso di riscatto
STORAGE Server FARM CUB-75BP370 | 2422-92E | 1 | 8300.11 | 8300.11 | 24 | 2013-01-01 | 199202.64 | Opzionale in caso di riscatto
STORAGE Server FARM CUB-75DM560 | 2421-92E | 1 | 8300.11 | 8300.11 | 24 | 2013-01-01 | 199202.64 | Opzionale in caso di riscatto
STORAGE Server FARM CUB-75KA070 | 2421-92E | 1 | 2967.05 | 2967.05 | 24 | 2013-01-01 | 71209.2 | Opzionale in caso di riscatto
STORAGE 1 Sistemi centrali CUB-75APWL0 | 2107-921 | 1 | 9806.93 | 9806.93 | 24 | 2013-01-01 | 235366.32 | Opzionale in caso di riscatto
STORAGE 1 Sistemi centrali CUB-75AKTB0 | 2107-92E | 1 | 4849.78 | 4849.78 | 24 | 2013-01-01 | 116394.72 | Opzionale in caso di riscatto
STORAGE 1 Sistemi centrali CUB-75BR130 | 2422-92E | 1 | 7790.97 | 7790.97 | 24 | 2013-01-01 | 186983.28 | Opzionale in caso di riscatto
STORAGE 2 Sistemi centrali CUB-75DHPM0 | 2107-931 | 1 | 10131.15 | 10131.15 | 24 | 2013-01-01 | 243147.6 | Opzionale in caso di riscatto
STORAGE 2 Sistemi centrali CUB-75DFRR0 | 2107-92E | 1 | 4248.38 | 4248.38 | 24 | 2013-01-01 | 101961.12 | Opzionale in caso di riscatto
STORAGE 2 Sistemi centrali CUB-75AT780 | 2421-92E | 1 | 8300.11 | 8300.11 | 24 | 2013-01-01 | 199202.64 | Opzionale in caso di riscatto
STORAGE 2 Sistemi centrali CUB-75TD640 | 2421-92E | 1 | 663.06 | 663.06 | 24 | 2013-01-02 | 15913.44 | Opzionale in caso di riscatto
STORAGE DWH CUB-75MR190 | 2421-932 | 1 | 35648.41 | 35648.41 | 24 | 2013-01-01 | 855561.84 | Opzionale in caso di riscatto
STORAGE DWH CUB-75MV150 | 2421-92E | 1 | 8455.12 | 8455.12 | 24 | 2013-01-01 | 202922.88 | Opzionale in caso di riscatto
STORAGE DWH CUB-75TD620 | 2421-92E | 1 | 7655.59 | 7655.59 | 24 | 2013-01-01 | 183734.16 | Opzionale in caso di riscatto
STORAGE DWH CUB-75TM010 | 2421-92E | 1 | 5311.32 | 5311.32 | 24 | 2013-01-01 | 127471.68 | Opzionale in caso di riscatto
Sistema SAN VOLUME CONTROLLER per ambiente OPEN SERVER FARM composto da: | nr. 4 apparati IBM 2145 -CF8 + nr. 2 apparati IBM 5639-SSA + nr. 1 apparato IBM 5639-VC5 | 1 | 2391 | 2391 | 36 | 01.01.2012 | 86076
Sistema a disco per SAN VOLUME CONTROLLER modello IBM DS3400 ambiente di OPEN SERVER FARM Lampertz 4 | DS- 3400 SAN VOLUME | 1 | 68.65 | 68.65 | 36 | 01.01.2012 | 2471.4
UP-GRADE TOTAL STORAGE IBM a mod. DS8300 (già 2421-921) (s.n. 75-CB150) | 2421-931 | 1 | 5400 | 5400 | 21 | 01.04.2013 | 113400
UP-GRADE cambio modello del sistema a disco IBM DS8000 a DS8100 s/n 75-L7710 ambiente OPEN DWH | 2421-921 | 1 | 7900 | 7900 | 36 | 01.01.2012 | 284400
Nuova nastroteca e Virtual TAPE HYDRA s/n 78-H2945 cosi composta: | IBM Total Storage HYDRA | 1 | 19780 | 19780 | 36 | 01.01.2012 | 712080
N. 5 - TS 3500 Expansion Frame | 3584-D23
N. 1 - High Availability Frame | 3584-HA1
N. 1- Ts35000 Tape Lybrary | 3584-L23
N. 12 - Tape drive TS1130 | 3592-E06
N. 1- TS 1120 Tape controller | 3952-C06
N. 2 - IBM Total Storage Lybrary Controller Frame | 3953-F05
N. 2 - Virtualization Engine - Storage Library Manager -Cache Ctrl Module | 3953-L05
Nuovo DISCO IBM DS8700 - Ambiente TEST/Sviluppo s/n 75-PG990 | 2421-941 | 1 | 6800 | 6800 | 36 | 01.01.2012 | 244800
UP-GRADE / MES Virtual Tape Lybrary esistente in sala LAMPERTZ 1 s/n 78-A2858 cosi composta: | UP_GRADE TS 3500 IBM Total Storage HYDRA | 1 | 12920 | 12920 | 36 | 01.01.2012 | 465120
N. 4 - TS 3500 Expansion Frame | 3584-D23
N. 3 - Tape drive TS1130 | 3592-E06
N. 1- Ts35000 Tape Lybrary | 3584-L23
N. 12 - Tape drive TS1130 | 3592-E05
N. 1- TS 1120 Tape controller | 3952-C06
N. 2 - Ibm total Storage Lybrary Controller Frame | 3953-F05
N. 1 - TS 7740 Virtualization Engine - Storage Library Manager - Cache Module/Controller | 3597-V06
Nuovo sistema di connettività SAN IBM 2109 dell'ambiente OPEN SERVER FARM cosi composto: | nr. 1 apparato IBM 2109 -C36 RACK + nr. 2 apparati IBM 2109-M48 Total Storage SAN controller 256 Port | 1 | 2550 | 2550 | 36 | 01.01.2012 | 91800
System Storage DS8700 | 2421-941 | 2 | 6710.7 | 13421.4 | 36 | 01.01.2012 | 483170.4
System Storage DS8700 Expansion Unit | 2421-94E | 2 | 1676.58 | 3353.16 | 36 | 01.01.2012 | 120713.76
System Storage Productivity Center | 2805-MC4 | 2 | 31.4 | 62.8 | 36 | 01.01.2012 | 2260.8
System Storage DS8000 Enclosure Unit | 2423-92E | 1 | 342.83 | 342.83 | 36 | 01.01.2012 | 12341.88
Potenziamento System Storage DS8100 | 2423-931 | 1 | 190.7 | 190.7 | 36 | 01.01.2012 | 6865.2
System Storage DS8700 | 2421-941 | 1 | 3409.79 | 3409.79 | 36 | 01.01.2012 | 122752.44
System Storage DS8700 Expansion Unit | 2421-94E | 1 | 359.88 | 359.88 | 36 | 01.01.2012 | 12955.68
System Storage Productivity Center | 2805-MC4 | 1 | 15.7 | 15.7 | 36 | 01.01.2012 | 565.2
IBM System Storage DS8700 Expansion Unit | 2421-94E | 1 | 468.94 | 468.94 | 36 | 01.01.2012 | 16881.84
Potenziamento System Storage DS8700 | 2421-941 | 1 | 513.07 | 513.07 | 36 | 01.01.2012 | 18470.52
Potenziamento System Storage DS8000 Enclosure Unit | 2423-92E | 1 | 23.53 | 23.53 | 36 | 01.01.2012 | 847.08
Potenziamento IBM System Storage SAN Volume Ctrl. Storage Eng. | 2145-CF8 | 4 | 791.15 | 3164.6 | 36 | 01.01.2012 | 113925.6
Potenziamento IBM System Storage N6060 Model A22 | 2858-A22 | 1 | 3435.97 | 3435.97 | 36 | 01.01.2012 | 123694.92
TS7650G Server | 3958-DD3 | 2 | 2126.57 | 4253.14 | 36 | 01.01.2012 | 153113.04
IBM TotalStorage Cabinet C36 | 2109-C36 | 2 | 69.94 | 139.88 | 36 | 01.01.2012 | 5035.68
IBM System Storage SAN768B C36 | 2499-384 | 4 | 3182.99 | 12731.96 | 36 | 01.01.2012 | 458350.56
Upgrade del sistema IBM 9119-FHA (sn. 83E1E4B) a modello IBM 9119-FHB | 9119-FHB | 1 | 2630.12 | 2630.12 | 36 | 01.01.2012 | 94684.32
Potenziamento System Storage DS8700 | 2421-941 | 2 | 1218.65 | 2437.3 | 30 | 01.07.2012 | 73119
Potenziamento System Storage DS8700 Expansion Unit | 2421-94E | 2 | 1346.1 | 2692.2 | 30 | 01.07.2012 | 80766
Potenziamento System Storage DS8700 | 2421-941 | 1 | 2777.23 | 2777.23 | 30 | 01.07.2012 | 83316.9
Potenziamento System Storage DS8700 Expansion Unit | 2421-94E | 1 | 3243.25 | 3243.25 | 30 | 01.07.2012 | 97297.5
System Storage DS8700 Expansion Unit | 2421-94E | 1 | 714.02 | 714.02 | 30 | 01.07.2012 | 21420.6
Potenziamento IBM System Storage SAN768B C36 | 2499-384 | 4 | 2089.37 | 8357.48 | 30 | 01.07.2012 | 250724.4
Sala di massima sicurezza Lampertz 1 SISTEMI CENTRALI omnicomprensiva di tutte le serrande di areazione e di sovrapressione, accessori presenti/allestimento elettrico e termico, cablaggio strutturato in Fibra ottica, rame e centrali elettroniche di rilevamento allarmi. | LM9001-05 | 1 | 1995.99 | 1995.99 | 36 | 2012-01-01 | 71855.64
Sala di massima sicurezza Lampertz 2 STORAGE SISTEMI CENTRALI omnicomprensiva di tutte le serrande di areazione e di sovrapressione, accessori presenti/allestimento elettrico e termico, cablaggio strutturato in Fibra ottica, rame e centrali elettroniche di rilevamento allarmi. | LM9002-06 | 1 | 1995.99 | 1995.99 | 36 | 2012-01-01 | 71855.64
Sala di massima sicurezza Lampertz 3 SERVER FARM STORAGE AMBIENTE OPEN omnicomprensiva di tutte le serrande di areazione e di sovrapressione, accessori presenti/allestimento elettrico e termico, cablaggio strutturato in Fibra ottica, rame e centrali elettroniche di rilevamento allarmi. | LM13003-07 | 1 | 2274.5 | 2274.5 | 36 | 2012-01-01 | 81882
Sala di massima sicurezza Lampertz 4 DWH pSeries e Storage OPEN omnicomprensiva di tutte le serrande di areazione e di sovrapressione, accessori presenti/allestimento elettrico e termico, cablaggio strutturato in Fibra ottica, rame e centrali elettroniche di rilevamento allarmi. | LM9004-08 | 1 | 1995.99 | 1995.99 | 36 | 2012-01-01 | 71855.64
Sala di massima sicurezza Lampertz 5 (Progetti speciali + DMZ) omnicomprensiva di tutte le serrande di areazione e di sovrapressione, accessori presenti/allestimento elettrico e termico, cablaggio strutturato in Fibra ottica, rame e centrali elettroniche di rilevamento allarmi. | LM9005-10 | 1 | 1894.99 | 1894.99 | 36 | 2012-01-01 | 68219.64
Sala di massima sicurezza (CAMPUS 1 Sistemi centrali) Lampertz omnicomprensiva di tutte le serrande di areazione e di sovrapressione, accessori presenti/allestimento elettrico termico, cablaggio strutturato in Fibra ottica, rame e centrali elettroniche di rilevamento allarmi. | LM30007-11 | 1 | 2584.66 | 2584.66 | 32 | 2012-05-01 | 82709.12
Sala di massima sicurezza (CAMPUS 2 Sistemi OPEN) Lampertz omnicomprensiva di tutte le serrande di areazione e di sovrapressione, accessori presenti/allestimento elettrico termico, cablaggio strutturato in Fibra ottica, rame e centrali elettroniche di rilevamento allarmi. | LM23006-11 | 1 | 2584.66 | 2584.66 | 32 | 2012-05-01 | 82709.12
Apparati Storage ambiente di Sviluppo Mainframe Upgrade DS8100 S/N 75HZ370 | 2423-931 | 1 | 1700 | 1700 | 36 | 2012-01-01 | 61200
Apparati di connettività SAN dell'ambiente di Produzione Mainframe - Upgrade Director S/N 100433A e 100433T | 2109-M48 | 1 | 383 | 383 | 36 | 2012-01-01 | 13788
UP- GRADE TOTAL STORAGE IBM | 2107-921 | 2 | 7161.68 | 14323.36 | 36 | 2012-01-01 | 515640.96
TOTALE LOTTO 2 IVA ESCLUSA | [6 empty] | 17288844.92